Version 06/2008-LH


SECTION 13122

PRE-FRAMED PANEL PRE-ENGINEERED METAL BUILDINGS

(NOTE TO SPECIFIER (NTS): This section is for panelized metal buildings ranging in widths from 6’ to 24’ and wall heights from 8’ to 14’.)

PART 1

GENERAL

1.01

SYSTEM DESCRIPTION


A. 
General


1. 
Pre-Framed Panel Pre-Engineered Metal Buildings, as that term is used in this Section, is intended to define a pre-engineered steel building system comprised of factory-assembled modular roof and wall pre-framed panel assemblies and accessories.



2.
Roof and wall pre-framed panel are to consist of exterior ribbed steel sheeting, and pre-fabricated structural steel panel frame with optional rigid insulation and interior steel liner to protect rigid insulation.


3. 
Building systems that require field fastening exterior sheeting on an independently erected structural frame are not acceptable.


4.
The pre-framed roof and wall panels when combined with a few angle accessories, form conventional roof trusses, roof diaphragm and shear walls.


5.
The double sloped, gable roof shape is formed by center hinged pre-framed roof panels.  The end of the pre-framed roof panels are connected using a tension tie to form the triangular roof trusses.  Web members connecting the pre-framed roof panel and tension tie provide truss action.  The connected pre-framed roof panels act together to form the roof diaphragm.


6.
The pre-framed wall panels are pre-fabricated from steel angles or a combination steel angle and channel frames.  The sidewalls support the roof trusses and resist lateral loads.  The connected pre-framed wall panels act together to form shear walls to resist roof diaphragm loads.


B.
Design Requirements



1.
Gable Roof Pre-framed panel Building Configuration




a.  Roof slope shall be a minimum of 2:12.




b.
Panels shall be factory-assembled and delivered to the site in a ready-to-be-installed arrangement that do not require pre-setting of anchor bolts.




c.
The design of structural steel members shall comply with the provisions of the AISC Specification for Structural Steel Buildings, 2005.


C.
Performance Requirements



1.
Design Loads


(NTS:  Kelly Klosure Small Span buildings have been engineered in conformance to the current 2006 IBC Code and ASCE/SEI 7-05 Standards.  The available options are provided in brackets.)




a.
Dead Loads





i.   Self weight of structure.





ii.
Collateral roof dead load of [5] [10] [15] psf uniformly distributed on main roof members (excluding roof sheeting and secondary support members).




b.
Live Loads





i.
Minimum live load per [Enter local building code here or in the absence of an applicable local code, per ASCE/SEI 7-05 TABLE 4-1].




c.
Snow Loads





i.
Ground [Design] Snow load of [20] [30] [40] [50] psf applied in accordance with the method prescribed in [Enter local building code here, or in the absence of an applicable local code, per ASCE/SEI 7-05].



d.
Wind Loads





i.
Basic Wind Speed of [85] ]90] [100] [110] [120] [130] mph (3-second gust) [fastest-mile] with an Exposure factor of [B] [C] [D] applied in accordance with the method prescribed in [Enter local building code here, or in the absence of an applicable local code, per ASCE/SEI 7-05].




e.
Seismic Loads





i.
In accordance with in [Enter local building code here, or in the absence of an applicable local code, per ASCE/SEI 7-05].





ii.
Zone [1[ [2A] [2B] [3] [4]







OR DEPENDING ON THE MODEL CODE SELECTED





ii.
SS = [  ]  , S1 = [  ]




f.
Combination of Loads





i.
Combine the above listed loads in compliance with [Enter local building code here, or in the absence of an applicable local code, per ASCE/SEI 7-05].

1.02
SUBMITTALS


A.
Approval Drawings as Shop Drawings



1.
Building floor plan.



2.
Foundation plan with details.



3.
Roof and wall panel cross-section (isometric).



4.
Sheeting and trim color schedule.



5.
Elevations with location and description of all building accessories including but not limited to, doors, windows and ventilations items.



6.
Building cross-section.



7.
Door hardware schedule.



(NTS: Delete item 8 if building will not need engineering stamp.)



8.
Structural design certification stamped and signed by professional engineer licensed to practice in the state of [   ].


B.
Assembly Drawings



1.
All information included on “Approved-Drawings”.



2.
Material and parts lists, structural framing details, connections, and manufacturer's recommended installation procedures.


3.
Tool List.



4.
Detailed unloading instructions.



5.
Pre-framed panel by panel Key Plan (Layflat Plan).



6.
Details of all structural steel connections.



7.
Details of all weatherizing flashing.



8.
Schematics and pictures illustrating assembly procedures.



9.
Installation instructions for all accessories.


C.
Warranties



1.
Manufacturer’s overall pre-framed pre-engineered metal building system warranty.



2.
Manufacturer’s exterior wall/roof sheeting warranty.


D.
Submit in accordance with manufacturer’s standard.

1.03
WARRANTY


A.
Overall Systems



1.
Guarantee overall pre-framed pre-engineered metal building system to be free from defects in material and workmanship for 12 months.


(NTS: Select either a galvalume or painted exterior finish.)


B.
Exterior Wall/ Roof Galvalume Plus



1.
Guarantee wall/roof sheeting exterior galvalume finish by sheeting manufacturer for 25 years against rupture, structural fail, or perforate due to corrosion exposure of normal atmospheric conditions.


- OR - 


B.
Exterior Wall/Roof Sheeting Painted



1.
Guarantee wall/roof sheeting exterior paint film color finish by sheeting manufacturer for 30 years against crack, check, peel or loose adhesion.



2.
Guarantee no excessive color change and chalking for 30 years.  Color change shall not exceed 5 NBS units in accordance with ASTM D2244, and chalking shall not be less than rating of 8 in accordance with ASTM D4214.

PART 2 
PRODUCTS

2.01 
MANFACTURERS


A.
Kelly Klosure Small Span pre-framed panel pre-engineered metal building system manufactured by Kelly Group, Inc. of Fremont, Nebraska.  www.kellyklosure.com 800.228.7230


B.
Or pre-approved equal.

2.02
STRUCTURAL FRAMING


A.
Primary Panel Frame Angles:  L 2 x 2 x 1/8 ASTM A529-50


B.
Shear Panels: L 3 x 3 x ¼ ASTM A36, L 3 x 2 x 3/16 ASTM A529-50


C.
Channel Shapes: Formed from 11 gauge Hot-Rolled ASTM A-569 Sheets with 38,000 PSI Yield


D.
Anchor Bolts: Anchor building to foundation with screw anchors/expansion/adhesive-type anchors sized to resist applied loadings while building is assembled over pre-installed foundations.


E.
Connection Bolts:
Below ½” diameter:  SAE J429- Gr. 2










½” diameter: SAE J4269 Gr. 5, or ASTM A325










5/8” diameter and larger:  ASTM A325


F.
Coatings



(NTS: Select either a primer coating or for additional rust protection, a hot dipped zinc coating.)



1.
Standard Primer Coating:
Apply Red Oxide Acrylic Emulsion Primer with conventional air or airless spray systems, or may be dipped.  Apply to a clean surface free from mill scale, oil, dust and rust to ensure good adhesion.  Apply to a dry film thickness of 1.0 to 2.0 mils.  Primer will be free of all lead and chromate hazards.  Primer is to exhibit good lift resistance, corrosion resistance and is to resist flash rusting.  Primer is to sustain durability for a minimum of 200 hours with less than 3 mm creep from the scribe under ASTM B117.  Primer will additionally exhibit a Class 5 adhesion rating under ASTM D3359.



- OR - 



1.
Zinc Coating (Hot Dip Galvanized):  Apply a hot dipped zinc coating conforming to ASTM A123, unless otherwise noted.  The minimum acceptable weight of coating shall be 1.25 ounces per square foot of surface when determined in accordance with ASTM A90.  Components shall be hot dip galvanized only after all cutting and welding has been completed.

2.03
EXTERIOR METAL SHEETING


A.
General



1.
Ribbed exterior face sheeting used to form pre-assembled pre-framed roof and wall panels shall be fabricated from aluminum, silicon and zinc coated steel sheets in the thickness (gauge), yield strength (fy) and quality (grade) to satisfy the structural design loading requirements of Section 1.01 when configured into a nominal ¾” high rib profile.  However, the minimum gauge shall be 29 [or 26] and minimum yield strength of 80,000 PSI grade “E”.  Base material shall be “Galvalume” to protect against undercutting corrosion through sacrificial behavior of zinc.



2.
Sheeting closure, flashings, fascias, gutters, and trim shall be building manufacturer’s standard, compatible with pre-framed wall and roof panels.


(NTS: Select either a galvalume or painted exterior finish.)


B.
Galvalume exterior metal sheeting



1.
Base material shall be “Galvalume” to protect against undercutting corrosion through sacrificial behavior of zinc.



2.
Combination of aluminum, silicon and zinc, which is applied to a steel substrate through a patented hot-dip process.


- OR -


B.
Pre-painted exterior metal sheeting



1.

Base material shall be “Galvalume” to protect against undercutting corrosion through sacrificial behavior of zinc.



2.
Pre-treat “Galvalume” coated steel sheets with chrome oxide to inhibit corrosion and promote adhesion.  Apply a primer consisting of epoxy modified polyester to improve adhesion and flexibility.  Apply topcoat consisting of 30% siliconized modified polyester (SMP) to minimize chalk and fade.



3.
Coatings shall be factory applied and baked so the solvents are released and incinerated and the pigments are resins are left on the substrate.



4.
[Engineer] [Owner] will select color(s) from manufacture’s standard color chart.

2.04 
FACTORY INSTALLED THERMAL INSULATION  


(NTS: Delete if building does not require insulation.)


A. 
Polyisocynanurate Foam



1.
Rigid, closed, cell, thermal insulation board composed of a polyisocynanurate foam core bonded to glass fiber reinforced aluminum foil facer on both sides of the board which is HCFC free.



2.
Rigid thermal insulation board designed and approved for use without the use of a thermal barrier in pre-engineered metal buildings documented by an appropriate ICBO Evaluation Report.



3.
Accepted as a nonstructural insulation board by the National Building Code (BOCA), Section 2603, Standard Building Code (SBCCI), Section 2603 and the Uniform Building Code (ICBO).





4.
Classified as Type 1 Class 1 pursuant to ASTM C1289.



5.
Qualified for use as exposed interior wall and/or ceiling insulation by successfully passing UBC Standard No 26-3; Room Fire Test Standard for Interior Use of Foam Plastic Systems”.



6.
Flame Spread of 25 or less and Smoke Developed Index of less than 300 with reflective aluminum vapor barrier to be laminated to both sides of foam insulation boards.



7.
The aluminum facer to be 1.5 mil on the exposed side and 0.3 mil on the opposite side.

(NTS:  2003 IBC through its companion 2003 IECC (International Energy Conversation Code) refers to ASHRAE-90.1.2004 which divides the US including Alaska into 8 Climate Zones with Zone 8 being the harshest cold.  This ASHRAE Standard for non-residential, heated only spaces in Zones 2 through 7 requires an overall heat transfer coefficient (U) Factor for both roof and wall pre-framed panel assemblies of 0.097 or less.  A Kelly Klosure wall or roof panel assembly with 1.5” insulation has a U=0.096.  Zone 1 doesn’t require insulation to comply.  Zone 8 requires roof panels with a U Factor for the pre-framed panel assembly = 0.072 or less.  A Kelly Klosure wall or roof panel assembly with 2.5” insulation has a U Factor for the pre-framed panel assembly = 0.057.  Non-residential, conditioned spaces require roof panels with a U Factor 0.065 for Climate Zones 1 through 6.

In sum, for non-residential, heated only spaces Kelly Klosure pre-framed panel assemblies with 1.5” insulation providing a U=0.096 is generally recommended for both wall and roof panels.  In addition, for non-residential, conditioned spaces it is generally recommended to upgrade the Kelly Klosure roof panels with 2.5” insulation providing an assembly U=0.057 for areas outside Alaska and extreme northern border locations.)


8.
Provide pre-framed roof panels with factory installed insulation with an overall heat transfer coefficient (U) factor of not greater than [0.096] [0.057].

9.
Provide pre-framed wall panels with factory installed insulation with an overall heat transfer coefficient (U) factor of not greater than [0.096] [0.057].


- OR - 


(NTS: If the insulation is required to be “incombustible” select the following:)

A.
Mineral Wool 2” (NTS: Mineral Wool does not meet energy codes.)


1.
Insulation shall meet ASTM E-84 Fire Hazard Classification as follows:



i. 
Flame Spread

5



ii.
Smoke Developed
0

(NTS: Select the optional steel interior liner below if the building is insulated and requires additional protection in the walls and /or roof panels).

2.05 
INTERIOR FACE SHEETING


A.
Pre-framed wall panels are to include factory installed flat interior face sheeting to consist of 28 gauge structural qualify zinc coated (galvanized) steel sheets [or 29 gauge zinc or aluminum coated structural quality sheeting with baked enamel finish in manufacture’s standard color] to protect insulation.

B.
Pre-framed roof panels are to include factory installed flat interior face sheeting to consist of 28 gauge structural quality zinc coated (galvanized) steel sheets [or 29 gauge zinc or aluminum coated structural quality sheeting with baked enamel finish in manufacture’s standard color] to protect insulation.

(NTS: Select the optional skylights below if the building does require translucent roof sheets.)

2.06
TRANSLUCENT SHEETS


A.
Non-insulated building



1.
White glass-fiber-reinforced polyester translucent plastic glazing sheets complying with ASTM D 3841, Type CC1, limited flammability, Grade 2, weather resistant, crinkle finish both sides, weight not less than 8 oz per sq ft.  Match configuration of adjacent metal panels.  Individual translucent sheets cover 36” in width and are no longer than 12’ long depending on the building width.  Locate as shown on drawings.  


- OR -


A.
Translucent sheets and air space for insulated buildings.



1.
Provide an air space approximately the thickness of the rigid thermal insulation between the exterior translucent sheets and the interior translucent sheets specified below.  Locate as shown on drawings.




a.
Exterior Translucent Sheets:  White glass-fiber-reinforced polyester translucent plastic glazing sheets complying with ASTM D 3841, Type CC1, limited flammability, Grade 2, weather resistant, crinkle finish both sides, weight not less than 8 oz per sq ft.  Match configuration of adjacent metal panels.  Individual translucent sheets cover 36” width and are no longer than 8’ in length.




b.
Interior Translucent Sheets:  Twin wall 6mm thick polycarbonate extruded plastic sheets complying with ASTM D 635, Type CC1, limited flammability.  Individual sheets to cover 36” width and are no longer than 8’ in length.

2.08
ACCESSORIES

(NTS:  The following accessory items include personnel doors, equipment doors, windows, ventilation and gutters and downspouts.  Some accessory items include optional upgrade these upgrades these upgrades are indicated by [brackets].  Select or delete as required.)


A.
Personnel Doors, Frames and Hardware



1.
Hollow Metal Doors




a.
Fabricate from 18 gauge [galvanized] cold rolled steel sheet.




b.
Provided steel top cap and bottom edges as an integral part of door construction.




c.
[Polystyrene core thermal rated with U-factor of 0.24 BTU/hr/sq ft/rf or better].




d.
[Provide 2’ x 2’ view window with ¼” Plexiglas glazing] or [1/4’ wire glass glazing.]




e.
To the extent practical factory installed hardware specified.  Securely attach door frames to panel structure.




f.
Shop prime paint.




g.
Factory top coat with corrosion resistant oil based paint in a color to match [manufacturer’s standard gray] [wall sheeting, roof sheeting, or trim] selected.



2.
Hollow Metal Door Frames 




a.
Frames for single personnel doors are to provide for 3’-0” x 7’-0” hollow metal doors.




b.
[Frames for double doors are to provide for a 3’-0” x 7’-0” active leaf and 2’-8” x 7’-0” inactive leaf.]




c.
Fabricate of 16 gauge [galvanized] sheet steel, cold rolled.  Miter welder corners.  Shop prime paint.




d.
Door silencers:  Except on weatherstripped doors, drill stop in strike jamb to receiver 3 silencers on single door frames and drill head jamb stop to receive 2 silencers on double door frames.  Install plastic plugs to keep holes clear during construction.




e.
Factory install hollow metal door frames(s) including built-in threshold into pre-framed wall panel(s) located where shown on drawings to accommodate door swing.




f.
Factory top coat with corrosion resistant oil based paint in a color to match [manufacturer’s standard gray] [wall sheeting, roof sheeting or trim] selected.



3.
Hardware




a.
Provide hardware of building manufacturer’s standard light commercial hardware.




b.
Building manufacturer’s standard threshold, drip ledge and door sweep.




- OR -







[Or select hardware upgrade described below]




a.
Lock: Schlage ND 53PD RHO 626




- OR -




a.
Exit device:  Von Duprin Series 99 [exit only 99EO] [Lever 99L/996L]




b.
1-1/2 pair hinges, for each door leaf: FBB191 4 ½ x 4 ½ US 26D by Stanley




c.
2 flush bolts, for double doors:  Ives FB 458-12 US26D




d.
1 threshold – building manufacturer’s standard




e.
Door sweeps: aluminum and vinyl drip cap and door bottom – MD-DCV 134




f.
Weatherstrip: Reese 815C




g.
1 astragal, for double doors: door manufacturer’s standard




h.
1 LCN closer, for active door leaf: 4 0 4 1




i.
Finishes shall be US 26D




j.
Buildings with multiple doors shall be keyed the same


C.
Wall Louvers



1.
Pre-installed 24” wide louvers of the height and number shown on drawings in pre-framed wall panel.



2.
Louvers shall be 22 gauge galvanized steel in plain finish.



3.
Louver frame shall have 4” nominal depth with stationary blades.



4.
Each louver unit shall include 1.2 “ bird screen in removable frame.

[Or select Heavy Duty commercial louvers described below]



1.
Pre-installed 24” wide louvers of the height and number shown on drawings in pre-framed wall panel.



2.
Louvers shall be extruded aluminum Greenheck Model shown on the drawings or approved equal.



3.
Louvers frame shall have 4” nominal depth.



4.
Louver finish to be plain aluminum or [ coated in the color selected from louver manufacturer’s color chart.]



5.
Louvers shall be stationary drainable type with drain gutters in each blade and downspouts in jambs.  Each louver unit shall include ¾” x 0.051” expanded, flattened aluminum bird screen in removable frame.


D.
Wall Exhaust Fans



1.
Pre-install 20” x 20” wall exhaust fan(s) of the number shown on drawings in pre-framed wall panel.  Fan shall be installed in 24” x 24” mfg. Std. Light commercial louver of 10” depth.



2.
Wall exhaust fans shall be Dayton shutter-mounted model shown on the drawings.



3.
Finish to be plain aluminum propellers with wire guards to comply with OSHA regulations.

[Or select Heavy Duty commercial exhaust fans described below]



1.
Pre-installed 24” x 24” wall exhaust fan(s) of the number shown on drawings in pre framed wall panel.



2.
Wall exhaust fans shall be extruded aluminum Greenheck model shown on the drawings or approval equal.



3.
Finish to be plain aluminum or [ coated in the color selected from louver manufacturer’s color chart.]


E.
Windows



1.
Pre-install manufacturer’s standard vinyl horizontal sliding [or fixed] window units 2’ wide x 3’ high pre-installed in pre-framed wall panels as shown on the drawings.



2.
Vinyl frame shall be white [or window manufacturer’s standard tan or sandstone] color.


F.
Gutters and Downspouts



1.
Provided manufacturer’s standard gutter and downspout accessories in the same finish as the wall and/or roof sheeting.


G.
Equipment Doors



1.
Building manufacturer shall design framed openings required for equipment doors specified.



2.
Stand non-slat continuous curtain equipment doors are to constructed of rolled-formed, lock-seamed continuous sheet of 26 gauge Galvanized coated steel.  Prime painted on both sides.



3.
All doors shall be manually chain operated [or electric operated].



4.
[Doors shall have heavy duty polyethylene air bubble cushioned R- 5.24 insulated.]

[Or select Heavy Duty equipment doors described below]



1.
Heavy duty equipment doors shall be constructed from cold rolled formed steel slats in continuous lengths of galvanized steel interlocked to form curtains.  Slats are prime coated by the manufacturer.



2.
All doors shall be manually chain operated [or electric operated].



3.
[Doors shall be constructed from two-sided steel slats with polyurethane foam filler to achieve an R- 9.0 insulation.]

[Select if Equipment Doors to be Field Painted]



_.
Consult equipment door manufacturer for compatible top coat paint.

PART 3 
EXECUTION

3.01 
INSTALLATION


A.
Install in accordance with manufacturer’s instructions and approved submittals.

**** END OF SECTION****


Revision Date 7-27-10
             13122-1                                   
                 PROJNAME-######


